Protocol for Real Time qPCR

Materials

- RNAse free Eppendorf, 1.5 ml

- cDNA samples (obtained by RT-PCR, protocol MB5)

- RNAse free water (Qiagen, supplied with RNeasy kit)

- TaqMan® Universal PCR Master Mix, no AmpErase® UNG (ThermoFisher Scientific; cat# 4324018)

- TaqMan® Probes

- MicroAmp® Fast Optical 96-Well Reaction Plate with Barcode, 0.1 mL (ThermoFisher Scientific; cat# 4346906)

- Microseal® 'B' PCR Plate Sealing Film, adhesive, optical (Bio-Rad; cat# MSB1001)

Note

- Use 15 ng of cDNA per well (or 10 ng/well when the target gene is highly expressed)

- Preferably run the samples in triplicates

- Keep everything on ice

- Vortex the probe thoroughly and spin down before use

Protocol

|  | µl per well | X (number of wells+3) |
| --- | --- | --- |
| SYBR 2X | 5 | =5*(X+3) |
| Primers | 1 | =1*(X+3) |

- Make the correct amount of PCR mix (prepare for 3 extra wells):

- Vortex the PCR mix and spin down

- Add the PCR mix to each well (6 µl/well) of the PCR plate (Note: don’t put the pipet tip too far into the solution, otherwise too much of the mix will attach to the outside of the tip and you will not have enough)

- Prepare the cDNA sample in RNAse free water to get 15 ng/well, you need 4 µl/well

  - Calculation:

… (number wells/sample) x  15 (ng/well) /   …   (ng/µl cDNA ‘stock’) =     …   µl cDNA ‘stock’

…  (number wells/sample) x 4 µl (total volume/well) -   …  µl (cDNA ‘stock’) =  … µl RNAse free water

- Add 4 µl of the diluted cDNA samples to the appropriate wells

- Seal the plate and make sure the edges are sealed properly

- Spin down the plate (make sure there are no bubbles)

- Keep the plate at 4°C until the run (protected from light)

- Run on the Real time PCR machine:

  - Login to goldrath (pw: memory)

  - Open Giovanni’s folder and run protocol

  - 10 µL volume

Date:				Probe:				Exp. #:

|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A |  |  |  |  |  |  |  |  |  |  |  |  |
| B |  |  |  |  |  |  |  |  |  |  |  |  |
| C |  |  |  |  |  |  |  |  |  |  |  |  |
| D |  |  |  |  |  |  |  |  |  |  |  |  |
| E |  |  |  |  |  |  |  |  |  |  |  |  |
| F |  |  |  |  |  |  |  |  |  |  |  |  |
| G |  |  |  |  |  |  |  |  |  |  |  |  |
| H |  |  |  |  |  |  |  |  |  |  |  |  |

cDNA conc.:

ng/well: 

µl cDNA: 
µl H2O:

n of wells:

MIX (5 µl):

Probe (0.5 µl):

H2O (2 µl):

Date:				Probe:				Exp. #:

|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A |  |  |  |  |  |  |  |  |  |  |  |  |
| B |  |  |  |  |  |  |  |  |  |  |  |  |
| C |  |  |  |  |  |  |  |  |  |  |  |  |
| D |  |  |  |  |  |  |  |  |  |  |  |  |
| E |  |  |  |  |  |  |  |  |  |  |  |  |
| F |  |  |  |  |  |  |  |  |  |  |  |  |
| G |  |  |  |  |  |  |  |  |  |  |  |  |
| H |  |  |  |  |  |  |  |  |  |  |  |  |

cDNA conc.:

ng/well: 

µl cDNA: 
µl H2O:

n of wells:

MIX (5 µl):

Probe (0.5 µl):

H2O (2 µl):

Date:				Probe:				Exp. #:

|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A |  |  |  |  |  |  |  |  |  |  |  |  |
| B |  |  |  |  |  |  |  |  |  |  |  |  |
| C |  |  |  |  |  |  |  |  |  |  |  |  |
| D |  |  |  |  |  |  |  |  |  |  |  |  |
| E |  |  |  |  |  |  |  |  |  |  |  |  |
| F |  |  |  |  |  |  |  |  |  |  |  |  |
| G |  |  |  |  |  |  |  |  |  |  |  |  |
| H |  |  |  |  |  |  |  |  |  |  |  |  |

cDNA conc.:

ng/well: 

µl cDNA: 
µl H2O:

n of wells:

MIX (5 µl):

Probe (0.5 µl):

H2O (2 µl):