Guava User Instructions

Hello Guava users, if you use the Guava for any amount of samples (even ONE), you must clean the machine afterwards.

For a few samples (5 or less):

-A quick clean can be done after counting

For 5 or more samples:

-A long clean must be done after counting

Cleaning Solutions:

ICF: Instrument Cleaning Fluid (squeeze bottle with green cap)

Water: Please only use ddH2O

Following cleaning, please check that:

-The cleaning vial (clear tube with blue graphics) is filled with ICF to the fill line

-The waste vial (clear tube with red graphics) is emptied if it is filled past the fill line

If you are the last user of the day, please shut off the machine and the computer, after you are done.

Thank you,

Goldrath Lab