Southern Protocol

- Make template DNA for Probe

  - 5’Probe #3:

-PCR amplification:

| H2O | 13.5 ul |
| --- | --- |
| 5X buffer | 5 ul |
| 25mM MgCl2 | 3 ul |
| 10um dNTPs | .5 ul |
| 10 uM F oligo | 1.25 ul |
| 10 uM R oligo | 1.25 ul |
| DNA (100ng) | .2 ul |
| Taq | .25 ul |

Use program probe (94C 3min, 94C 30sec, 58C 30sec, 72C 1min, 72C 5min, 4C forever)

Run out on gel, remove band

-Restriction digest from pTOPO vector:

use Alison’s CsCl tube from –20C

| H2O | 4 ul |
| --- | --- |
| BSA | 4 ul |
| 10X Buffer | 4 ul |
| EcoRI | 3 ul |
| vector | 25 ul |

Incubate 1 hr at 37C, run out on gel, cut out smaller band

  - 5’P2 (3’ probe)

-PCR amplification:

| H2O | 13.5 ul |
| --- | --- |
| 5X buffer | 5 ul |
| 25mM MgCl2 | 3 ul |
| 10um dNTPs | .5 ul |
| 10 uM F oligo | 1.25 ul |
| 10 uM R oligo | 1.25 ul |
| DNA (100ng) | .2 ul |
| Taq | .25 ul |

Use program probe (94C 3min, 94C 30sec, 58C 30sec, 72C 1min, 72C 5min, 4C forever)

Run out on gel, remove band

-test concentration using UV spec

- Restriction Digest of sample

  - Use HindIII for 3’ southern and NcoI for 5’ southern

| HindIII digestion |  | NcoI digestion |  |
| --- | --- | --- | --- |
| 10X buffer (NE #2) | 3.5 ul | 10X buffer (NE #3) | 3.5 ul |
| Enzyme | 1.5 ul | Enzyme | 1.5 ul |
| H2O | 25 ul | H2O | 25 ul |
| DNA (10ug) | 5 ul | DNA (10ug) | 5 ul |

Incubate 8 hrs at 37C (no more to prevent NcoI star activity)

- Run out gel

-Pour 0.8% gel (measure out 400ml of TAE and add 20ul EtBr) in a large mold with one row of wells at the top

-run at 40V overnight

- Southern Blot Transfer

-take a picture of the gel to make sure restriction digest worked (should see a smear of DNA, not bands)

-cut out relevant part of gel, measure size, mark top left corner

-rotate for 5 min in 0.2N HCl (no longer!), must be made fresh!

-wash with DI water

-rotate for 20 min with 0.4M NaOH

-set up blot:

- 4 squares chromatography paper (1 cm bigger than gel) dry

- 2 squares chromatography paper (1 cm bigger) wet in NaOH

- Hybond-xl membrane (exact size of gel) wet in NaOH (corner marked same as gel)

- Gel (don’t need to invert)

-surround gel with parafilm to prevent short circuiting

- 3 squares chromatography paper (exact size) wet in NaOH

- two long wicks, with one end in dish holding NaOH, and tapered ends that rest on top of the gel

- weight

-allow transfer to occur for 1.5-2 hours (ok to go over, membrane is charged to hold DNA-> also means no need to crosslink)

- Probe Preparation

  - denature probe:

-heat the tailshaker up to 98C

50ng probe template DNA

0.5ng lamda HindIII digestion DNA (for ladder labeling)

10ul random nonmers

add H2O to 34ul

-incubate 10 min at 98C

-don’t forget to also denature sheared salmon sperm DNA (25ul/blot)

-(while waiting heat up hyb ovens to desired Temp: 68C for 5’P2 and 65C for 5’ probe #3)

-cool on ice 1 min

  - Radiolabel probe

-Add:  10ul 5X dCTP buffer

1 ul Klenow

5ul P32 dCTP

-incubate 10 minutes at 37C

-add 2ul Stop mix

-clean on G50 spin colums:

-vortex tubes before use

-break off botton and loosen cap

-spin at 3K rpm for 1 min into collection tube to get rid of liquid

and form column

-toss flow through and collection tube, replace with labeled eppie

with 2.5ul 2M NaoOH

-add probe mix directly to column

-spin 3Krpm for 2 min

-toss column and keep probe in eppie (can leave at RT until

membrane is ready)

- Hybridization of probe to membrane

-after the blotting is finished remove chromatography paper and gel

-add 10 ml quikhyb solution hyb tube (incubate in oven while waiting for blot to finish to prewarm)

-add 25ul denatures salmon sperm DNA and coat sides of tube

-roll membrane and put in tube (DNA side facing in), try and keep edges from overlapping

-prehyb for 30min in hyb oven

-add radiolabeled probe to hyb tube (wash with 1mL quikhyb from tube)

-incubate rotating for 1 hr

-put plastic shields in front of ovens

- Washing the membrane

-pour off quikhyb buffer (blotting the rim to prevent spills) and add ~10 mL 2X SSC 0.1% SDS, rotate 10 min

-repeat wash with 2X SSC 0.1% SDS, twice with 0.2X SSC 0.1% SDS and twice with 0.1 SSC 0.1% SDS

-during the last wash blank the phosphoimager screen

-pour off remaining wash solution, remove membrane and place DNA side down on a piece of saran wrap, cover the back of the membrane completely, folding all sides in to prevent evaporation and contamination

-tape blot to the phosphoimager screen (on the side with the grid) and add the blank side

-store for 72-98hrs for good exposure

- Reading Blots

-Use imager in the Aria room

-open typhoon program (change acquisition mode to storage:phospho)

-run and save (remember which squares your blots are on)

- PRAY!!!