02/08/2023

Protocol for surface staining for flow cytometry

NB: many chemokine receptors recycle continuously through early endosomes , so if you freeze the endocytic pathway you can only address the fraction that is on the surface.  If you stain at RT (or even 37°C) you can hit a much larger fraction, and get better signal. It is important to titrate your antibodies under the conditions you will be staining during experiments.

Materials

- Live/Dead Fixable Viability Kit

- ArC Amine Reactive Compensation Beads (Life Technology)

- ArC Amine Reactive Negative Beads (Life Technology)

- Compbeads Anti-mouse Ig K (BD) or UltraComp eBeads (eBioscience)

- Sterile FACS washing buffer (1X PBS -/- supplemented with 2% FBS or 1X HBSS -/- supplemented with 2% FBS )

- Fix solution: formaline (FA) 1% in HBSS-/- or in PBS 1X-/-

- Antibodies

- Sample

Protocol

- wash the sample with 2mL (20 X Vstaining) of HBSS-/- o 1X PBS-/- (in order to eliminate FBS or BSA that can bind Live/Dead)

- centrifuge 4 minutes at 1600 rpm at RT

- aspirate the supernatant

- make Live/Dead mix for 4 samples of around 10 million cells each (add 1 uL Live/Dead in 19 uL H2O; then add 380 uL PBS-/-)

- add 50 uL of Live/Dead mix to each sample and 50 µL of Fc Block (ready to use solution) and incubate for 15 minutes RT in the dark

- wash the sample with 2 mL of FACS buffer

- centrifuge 4 minutes at 1600 rpm at RT

- aspirate the supernatant

- make the Ab mix in FACS buffer

- add 100 uL of Ab mix to each sample and incubate for 20 minutes 4°C in the dark.

- wash the sample with 2 mL of FACS buffer

- centrifuge 4 minutes at 1600 rpm at RT

- aspirate the supernatant

- fix the sample with 150 uL of Fixation Buffer (BioLegend – brown bottle)

- incubate 10 minutes at 4°C

- wash the sample with 2 mL of FACS buffer

- centrifuge 4 minutes at 1600 rpm at RT

- aspirate the supernatant

- resuspend the sample with 200 uL of FACS washing buffer

- keep the sample at 4°C until the acquisition

Fluorescence compensation

Compensation controls are required for each fluorochrome and should contain both a positive and a negative population. Be sure to use specific beads: for mouse anti-Human antibodies use Compbeads Anti-mouse Ig K (BD), for rat anti-Human antibodies use UltraComp eBeads (eBioscience). For some antibodies it is recommended to use cells for compensation.

- Gently vortex beads

- Put 30 uL of beads and add the 1 µL of the antibody in a FACS tube. For the negative control: put beads alone.

- For Live/Dead positive: 2 drops of ArC Amine Reactive Compensation Beads + 2,5 uL of Live/Dead. For Live/Dead negative: 2 drops of ArC Amine Reactive Negative Beads. NB: at the end of incubation, do not fix neither wash the Live/Dead comps!

- Incubation for 20 minutes at RT in the dark

- wash the tube with 2 mL of FACS buffer

- fix the sample with 150 uL of Fixation Buffer (BioLegend – brown bottle)

- incubate 10 minutes at 4°C

- wash the sample with 2 mL of FACS buffer

- centrifuge 4 minutes at 1600 rpm at RT

- aspirate the supernatant

- resuspend the sample with 200 uL of FACS washing buffer

- keep the sample at 4°C until the acquisition