Epic Histology Protocol – for Spleen and Lymph Nodes

Tissue Processing

Materials

- 4% Formaldehyde/Paraformaldehyde(PFA) – see PFA protocol

  - Make fresh from high concentration stock each time

  - Use 15 conicals – enough to cover spleen/LN

- 5% Sucrose/ 4% formaldehyde (4mL sucrose, 3mL 37% formaldehyde, 20mL PBS)

- 10% Sucrose

- 30% Sucrose

- OCT, Cryo-molds cassette, and dry ice

- Fisherbrand Superfrost-Plus microscope slides

- 1x PBS

Method

Fixation and Dehydration

- Sacrifice mouse and harvest spleen/ lymph nodes.

- Drop organs into 4% formaldehyde/5% sucrose conicals IMMEDIATELY upon removal and place on ice.

  - Attach tubes to BellyDancer or something with rotation, or periodically rotate/tap to make sure fixative penetrates all directions.

  - Leave organs in fixative (4% formaldehyde) at least a combined 6 hours at 4°C

    - If sac’ing late in the day, okay to leave in solution overnight

    - Incubate in 5% Sucrose for at least 2 hours.

- Aspirate out the fixative and pour in 9 mL of 10% Sucrose solution (w/ 4% formaldehyde is tissues have not been incubated for at least 6 hrs yet)

  - Incubate for 2-3 hrs at 4°C.

- Replace 10% Sucrose with 30% Sucrose and incubate at 4 degree C° overnight or for the full day if it’s been fixed overnight already.

Embedding

- Put processed organs into respective small Petri dishes with fresh OCT and use to:

  - Wash residual sucrose off by rolling around in OCT.

- Fill up a Cry-mold cassette completely with OCT

  - Place the tissue at the bottom of the cassette, making sure that there are no bubbles

- Place cassettes with tissues/OCT on a flat block of dry ice until OCT has turned opaque white

- Store all blocks in labeled boxes in -80°C.

Fixation and Slide Preparation for Staining

Materials

- Fixing reagent of choice: -20°C Acetone, 4% Formaldehyde (Stock 37% Formaldehyde w/ 5-10% methanol as preservative), 4% Paraformaldehyde (PFA, 100% pure formaldehyde)

  - See protocol for making 20% PFA (4% PFA easily degrades)

- Coplin jars for acetone fixations

- 1X PBS (ridiculous amounts) – use 10X PBS for dilutions rather than 1X stocks

- Coplin jars or slide holder chambers (for many samples) for washes

- Glass slide holder (compatible with slide holder chamber)

- Pap pen (creates liquid repelling barrier around sample)

- Large Kimwipes

- Thawed sample slides (no ice crystal damage): less than 5 minutes

Method

Fixation (pick one of following fixatives): After samples are thawed

- -20°C Acetone – Harshest but cleaner fixation method, will destroy GFP and other very sensitive epitopes (protein pulldown/precipitation reaction)/ Note: acetone will smear off all permanent markers

  - Pour in enough acetone to cold coplin jar to cover sections on slides, AT MOST UP TILL THE FROSTED EDGE WITH WRITING (acetone will smear)

  - Carefully transport to -20°C and fix for 5 minutes

  - Carefully pull out slides individually and place on paper towels, allowing acetone to quickly evaporate

  - After evaporation, wash 3x with 1X PBS in coplin jars, 10-15 minutes each

- 4% Formaldehyde/ PFA – standard fixation (defer to this first)

  - Dilute high concentration formaldehyde/PFA stock to 4% in PBS

    - ~50uL/section on each slide (Exp: 3 sections/slide = ~150uL)

  - Pipet ~50uL onto each sample at RT, careful not to damage section

  - Fix for 10 minutes

  - Wash 3x with 1X PBS in coplin jars, 5-10 minutes each time

Pap Penning and Preparation for Blocking/Staining

- Lay out slides on paper towels and dry around the glass and individual sections using large Kimwipes (paper towels will form lint). DO NOT TOUCH SECTIONS WITH TOWELS!

- Circle each individual section a few times with pap pen, allow to dry

- Dip sections into PBS again to retain moisture

Blocking

Materials

- Blocking Buffer – the Epic (Gelatin) Block (for 50mL)

  - 1.5mL normal goat serum (3%)

  - 1.5mL normal donkey serum (3%)

  - 1.5-2.0 g BSA

  - 1mL fishscale gelatin (advised to add after some PBS)

  - 25ul Tween20 (0.05%)

  - 50ul Triton-X-100 (0.1%)

  - 250ul 10% Azide (0.05%)

  - Fill to the 50ml mark w/ 1x PBS

  - Optional: make ~5 tubes and aliquot into 15mL conicals and freeze to store

- Fc Block

- Vector Labs Avidin/Biotin blocking kit (if using biotinylated antibodies)

- Hydration chamber (basically some sort of plastic sealable container with wet paper towels on the bottom – incubate slides so liquid does not evaporate)

- Coplin jars or slide chambers (see fixation materials)

- 1x PBS

Method

- Make master mix: depending on section size, add ~50uL Gelatin Block and ~5uL Fc block per sample

  - Pipet ~50uL onto pap pen circled section, making sure to cover section

- Place slides into hydration chamber and incubate for at least 20-30 minutes

  - Ok to leave longer: this is a good stopping point if you need to take care of other stuff.

- Only if using biotinylated antibodies – Avidin/Biotin block, perform in this order:

  - Tap slides on paper towel to remove blocking buffer

  - Apply 1 drop of avidin block onto each section – incubate 15 minutes

    - Tap slides on paper towel to remove blocking buffer

  - Apply 1 drop of biotin block onto each section – incubate 15 minutes

- Rinse off/rehydrate each slide by dipping a few times into PBS (in Coplin jars)

  - Aspirate off extra liquid carefully using edges of Kimwipe. DO NOT TOUCH SECTION!

- Slides are ready to stain

Staining

Materials

- Epic (Gelatin) Blocking Buffer (see Blocking)

- Antibodies (see list at end for antibodies and concentrations tested using this protocol)

- Coplin jars or slide chambers (see fixation materials)

- 1x PBS

- Hydration chamber (see Blocking)

- 37 Incubator

Method

- Similar to Blocking, aspirate off extra liquid using kimwipes without letting slides completely dry out

- Make master mix of respective Primary Ab (including biotinylated Abs) stains in the blocking buffer

  - Pipet Ab mixture onto sections ~50ul

- Place slides into hydration chamber and seal lid

- Incubate slides in hydration chamber in 37 incubator for 1 hour (after 1 hour, antibodies/proteins will start to denature)

- After 1 hour, EITHER:

  - Put slides into PBS in coplin jars/slide chamber and wash 3x at 5-10 minutes each

  - OR, if working with a difficult Ab, move slides in hydration champer with Ab mixture still on into cold room and incubate for another 2-4 hrs. Afterwards, wash as in 5a.

- If no secondary Ab is needed, move onto “Mounting”

- Pipet on Secondary Ab mixture prepared same way as the Primary

  - Follow same steps as Primary Ab

  - Incubate for only 30-45 minutes at 37 (or else high background)

- Wash slides 3x in 1x PBS, 5-10 minutes each time

Mounting and Sealing

Materials

- Paper Towels

- Kimwipes

- Mounting Media – Invitrogen Pro-Long Gold Antifade Reagent (I prefer w/o DAPI)

  - Rest upside down to get rid of bubbles

- Nail Polish (Sally Hansen brand, or anything that isn’t too thick)

- Fisherbrand glass coverslips

Method

- Using Kimwipes, wipe slides of all liquid and smear off some pap pen

  - Be very careful not to touch the section using Kimwipes

  - Leave slides in dark area like drawer to dry for a few minutes (not too long)

- Apply very small drop of Mounting Media onto each section

  - NO BUBBLES – If bubbles form, aspirate off using a pipet

- Carefully place on coverslips

  - Technique: place on one edge first and slowly lower onto the other

- Carefully apply nail polish to edges of coverslip to seal onto the slide

  - Technique: do not move the coverslip; if nail polish is too thick, dilute it down with some acetone

- Store slides in 4 until ready to view

Contact Information

If you are from the Goldrath Lab and are stuck with anything, you can contact me for assistance, wherever my awesomeness may be:

Edward Yang

edyang86@gmail.com

(626)242-5712

Random tips

- 37 incubation might not work for everything

  - For more sensitive staining such as KLRG-1 – stain for 1hr in 37° and then transfer to 4° for another 2-3hrs – overnight. Makes a big difference

- Pay attention to appropriate fixation

- This protocol works very well on staining for CD11c, CD45.1, CD4, and B220 thus far

- CD8 staining can be a little weak

- If cutting sections is difficult/rolling:

  - Use gradual pulling technique (similar to riding the block) by picking off one side of section first and pulling meticulously as it quickly sticks to slide

  - Warning: can be incredibly frustrating; use caution when cutting very important experiments

    - Lowering concentration of fixative can if these problems ensue, but higher risk of epitope degradation, especially if working with Thy1.1

- Section a certain way… the longitudinal, not lateral, cuts for the spleen

- Need a butt load of PBS – suggest using 10x

- Be more careful w/ working in the light/sunlight after slides are stained

- Everything is variable, whatever works works, and what works for some, will not for others

Microscope and Microscopy Core for Imaging

- For confocal images, anything requiring AF647/APC, and stuff you want to publish, use the confocal microscopes at the UCSD SOM Microscopy Core: Olympus FV1000

  - Contact Jennifer Santini or whoever is the Managing Director of Microscopy Core

  - http://microscopy.ucsd.edu/ContactUs.html

  - http://microscopy.ucsd.edu/Reservations.html

  - She will guide you through all necessary training to use Microscope

- Channels

  - 405/Pacific Blue

  - 488/FITC

  - 546/PE

  - 647/APC

- Microscope settings

  - Pixels: no more than 10, any more is usually overkill (prone to bleaching)

  - 1024x1024 is the size I use typically

  - Focus x2 scan on 512x512 yields best image/speed ratio

Antibodies

This chart below is a bit outdated, but general rule:

- Primary antibody – 1:100-1:200 is a good range to start and will likely work

  - Can titrate up or down based on how dim/bright initial stain is

- Secondary antibody – 1:500

- AlexaFluor antibodies hold up well against bleaching. PE and FITC antibodies tend to bleach, but APC works pretty well.

| Antibody | Conjugate | Vender | Clone | Concentration |
| --- | --- | --- | --- | --- |
| CD45.1 | 488, 647 | BioLegend | A20 | 1:200 |
| CD45.1 | Biotin | eBioscience | A20 | 1:200 |
| Thy1.1(CD90.1) | 488 | BioLegend | OX-7 | 1:100 |
| Thy1.1(CD90.1) | Biotin | eBioscience | HiS51 | 1:100 |
| B220(CD45R) | 647, Pac Blue | BioLegend | RA3-6B2 | 1:200 |
| CD11c | Biotin | eBioscience | N418 | 1:100 |
| 488, 546, 647 Secondary Ab | SA | Invitrogen |  | 1:500 |
| CD8 | Biotin, FITC | eBioscience | 53-6.7 | 1:50 |
| CD4 | Biotin, FITC | eBioscience | GK1.5 | 1:50 |

Recent AB’s:

- KLRG-1 – Biotin/ eBioscience/ 1:100/ needs 2-3 hrs of 4° incubation on top of 1hr 37°

- Guinea pig anti-LCMV – 1:300-1:400, stain for 1-2hrs in 4° on top of 1hr 37°

  - Secondary: goat/donkey anti-guinea pig

Microscope

Olympus FV1000

### Blocking Solutions

Background or unspecific staining often occurs for IHC antibody staining. Here we list commonly used blocking solutions during antibody staining procedure to reduce background or unspecific staining.

Peroxidase Blocking Soluiton (3% H2O2 in PBS):

30% H2O2 ------------------------- 10 ml

1X PBS ----------------------------- 90 ml

Mix well and store at 4 ºC for up to 3 months.

Block sections for 10 minutes before blocking step or after primary antibody incubation. Note: this solution is recommended for paraffin sections.

Peroxidase Blocking Soluiton (0.3% H2O2 in Methanol):

30% H2O2 ------------------------- 1 ml

Methanol -------------------------- 99 ml

Mix well and store at 4 ºC.

Block sections for 20-30 minutes before serum blocking step prior to primary antibody incubation. Note: this solution is recommended for frozen sections. Blocking after primary antibody incubation may cause tissue damage.

Avidin/Biotin Block:

Avidin 0.001% in PBS

Biotin 0.001% in PBS

Store these blocking solution at 4 ºC.

Incubate sections for 10-15 min each and rinse with PBS between steps. Recommended to block before primary antibody incubation.

Normal Goat Serum Blocking Solution:

2% goat serum (blocking)

1%BSA (stabilizer)

0.1% cold fish skin gelatin (blocking)

0.1% Triton X-100 (penetration enhancer)

0.05% Tween 20 (detergent and surface tension reducer)

0.05% sodium azide (preservative)

0.01M PBS, pH 7.2

Mix well and store at 4 ºC.

Normal Horse Serum Blocking Solution:

2% horse serum (blocking)

1%BSA (stabilizer)

0.1% cold fish skin gelatin (blocking)

0.1% Triton X-100 (penetration enhancer)

0.05% Tween 20 (detergent and surface tension reducer)

0.05% sodium azide (preservative)

0.01M PBS, pH 7.2

Mix and store at 4 ºC.

Normal Swine Serum Block Solution:

2% swine serum (blocking)

1%BSA (stabilizer)

0.1% cold fish skin gelatin (blocking)

0.1% Triton X-100 (penetration enhancer)

0.05% Tween 20 (detergent and surface tension reducer)

0.05% sodium azide (preservative)

0.01M PBS, pH 7.2

Mix and store at 4 ºC.

Normal Donkey Serum Block Solution:

2% donkey serum (blocking)

1%BSA (stabilizer)

0.1% cold fish skin gelatin (blocking)

0.1% Triton X-100 (penetration enhancer)

0.05% Tween 20 (detergent and surface tension reducer)

0.05% sodium azide (preservative)

0.01M PBS, pH 7.2

Mix and store at 4 ºC.

Normal Rabbit Serum Block Solution:

2% rabbit serum (blocking)

1%BSA (stabilizer)

0.1% cold fish skin gelatin (blocking)

0.1% Triton X-100 (penetration enhancer)

0.05% Tween 20 (detergent and surface tension reducer)

0.05% sodium azide (preservative)

0.01M PBS, pH 7.2

Mix and store at 4 ºC.

Universal Blocking Buffer:

1%BSA (blocking & stabilizer)

0.1% cold fish skin gelatin (blocking)

0.5% Triton X-100 (penetration enhancer)

0.05% sodium azide (preservative)

0.01M PBS, pH 7.2-7.4

Mix well and store at 4 ºC.

Note: this blocking buffer can also used as un-conjugated primary antibody dilution buffer. Do not use it to dilute HRP conjugated antibody as the sodium azide is inhibitor of HRP. Do not use it to dilute Alkaline Phosphatase (AP) conjugated antibody as the phosphate in PBS is an inhibitor of AP.