Ex vivo peptide re-stimulation to assess cytokine production by antigen-specific CD8 T cells

LLB 2020

- Whole splenocytes (whole blood or tissue) - maximum concentration of 1x10^7 cells/ml (I plate 2x10^6 cells in 200ul). Doing a higher concentration won't work.

- Re-suspend cells in:

  - TCM + 1ug/ml of GP33-41 peptide + GolgiPlug (1:1000) + 1:100 of anti-CD107a (conjugated to your preferred fluorophore) and incubate at 37C for 5h.

  - Make the negative control (no peptide) by pooling a little bit of cells from all samples: TCM + 1ug/ml Brefeldin A + 1:100 of anti-CD107a

- After 5h;

  - Spin down flick to remove supernatant

  - Stain with live/dead stain + anti-CD8 (and congenic markers etc) in PBS1x for 10-15min at RT.

  - Wash and re-suspend in Cytofix/Cytoperm (BD kit) 20 min @4C (in the fridge).

- Wash off fix, and resuspend in FACS buffer. *Cells can be left in the fridge overnight (or for 2-3 days until acquisition).

- On the day of acquisition, spin down and remove PBS/facs buffer.

- Re-suspend cells in Perm Buffer 1X (eBioscience kit/FoxP3 kit) containing:

  - anti-IFNg (1/100)

  - anti-TNFa (1/100)

  - anti-IL-2 (1/100) – PE (*Important: IL-2 only works in PE)

- Stain for 30min at 4C

- Wash off stain, and re-suspend in volume for acquisition

PANEL

CD107a-FITC

CD8a-PerCP-5.5

IL-2-PE

IFNg-e450

TNFa-APC

CD45.1-BV711

CD45.2-PE-Cy7

Live/Dead-APC-Cy7