Post-Xenium IF & HE Protocol

Miguel Reina-Campos

11/17/23

Updated 1/26/24 by Vida Luna

Slides are kept hydrated in PBS-T (0.05% tween-20 in 1x PBS) after run completion

Retrieve slides and keep at 4ºC. If storing, refresh PBS-T every 3-4 days to avoid bacterial buildup

There is no need to remove the slides from the cassette during IF stain

Reagents:

- PBS-T (0.05% tween-20 in 1x PBS)

- CAS-block

- Xenium cassette plastic covers (2 per slide)

- DAKO antibody diluent

- Anti-CD8a (unconjugated, Abcam)

- 1x PBS

- Humid chamber (slide chamber with wet paper towels)

- Anti-Rabbit AF594

- WGA-FITC stock (1 mg/ml)--stored in -20

- DAPI stain

- Vectashield Antifade Hardset Mounting Reagent

- Xylene-based mounting media - Cytoseal XYL

When ready to perform IF:

Wash once with PBS-T (1 mL) 1 min at RT

- Block:

  - Remove PBS-T

  - add 500 ul of CAS-block

  - add a plastic cover

  - Incubate for 2h at RT

- Primary:

  - Remove CAS-block

  - Add 200 ul of primary Ab diluted in DAKO Antibody diluent per slide

  - anti-CD8a (Unconjugated, Abcam) 1:200

    - ~50 ul per drop

  - add a cassette lid

  - Incubate overnight at 4C in a humid chamber

- Wash:

  - 3x wash with 1 mL of regular 1X PBS, 5 min each

  - In the dark

- Secondary:

  - Add 200 ul of conjugated secondary antibody per slide

    - Anti-Rabbit AF594 1:200 in DAKO Antibody diluent

  - 1 hour at room temp, add cassette lid

- Wash:

  - 3x wash with 1 mL of regular 1X PBS, 5 min each

- WGA stain + DAPI

  - From the 1 mg/mL stock solution of WGA-FITC (kept at -20), thaw the stock and prepare 1 mL of a 10 ug/mL solution in PBS (can refreeze stock after thawing)

    - 1mg/ml  10ug/ml is 1:100 dilution

    - For 1 ml of PBS, add 10 ul of WGA-FITC stock solution

  - Add 500 ul of WGA antibody solution per slide

  - Incubate at RT 15 min protected from the light

  - Wash 3x with 1mL of regular PBS

  - Add 500 ul of a 1:1000 DAPI solution in PBS to each slide

  - Incubate 5 min

  - Wash 2x with 1 mL of regular PBS

  - Dismount slide from cassette

  - Dry carefully and mount coverslip using Vectashield Antifade Hardset Mounting reagent.

  - Let dry at RT for 20 min

  - Proceed to slide scanning at 20X using DAPI, FITC (green, WGA), and TRITC (red, CD8a) channels.

- Coverslip removal

  - Soak slides in PBS at 4C overnight

  - Remove the coverslip by sliding it outside of the slide, DO NOT LIFT. Lifting the coverslip will break/dislodge the tissue

  - Wash 3x in regular PBS in a plastic container 5 min each

  - Wash 2x in ddH2O in a plastic contained 5 min each

  - Stain with Hematoxylin for 15 min

  - Wash 4x with tap water in a plastic container, 30 seconds each, until water comes out colorless

  - Dip 4 times in Blueing reagent

  - Wash 4x with tap water in a plastic container, 30 seconds each

  - Submerge in Eosin for 2 minutes

  - Transfer to a 95% etOH container for 3 min

  - Transfer to a new clean 95% eTOH for 3 min

  - Transfer to a new clean 100% etOH for 5 min

  - Transfer to a new clean 100% etOH for 5 min

  - Transfer to a new clean Xylene for 5 min

  - Transfer to a new clean Xylene for 5 min

  - Mount coverslip on the slides using H&E mounting media

    - Xylene based mounting media – Cytoseal XYL

  - Let it air dry in the fume hood for 1h

  - Proceed to scan H&E 20X on the slide scanner