Hi Seahorse Assay on sorted cells with the Seahorse HS Mini instrument

Day before – hydrate sensor cartridge by filling all wells of calibration plate with 200 uL water. Don’t forget to include the surrounding wells (which need 400 uL each).

Incubate at 37C in a non-CO2 incubator overnight.

Day before – Prepare XFp PDL or HS PDL Miniplates – obtain the XFp PDL Miniplates and remove the foil seal(s) from the plate(s) that will be used. Place the plates in a non-humidified, non-CO2 37 °C incubator overnight.

Once you have sorted cells of interest!

- Spin cells at 500g for 5 minutes without topping up the tubes – aspirate gently with pipette

- Resuspend cells in 100 µL Seahorse XF media and count

- Adjust volume to concentration of 200,000 cells in 50 µL (125,000 cells minimum requirement)

- Add sterile water to the moat around the cell culture wells, 400 μL per chamber.

- Plate cells in wells B-C-D for WT and E-F-G for KO (in 50 uL of XF media)

- Plate 50 µL of XF media in wells A and H as background

- Centrifuge the plate at 500g for 5 minutes – verify cell adherence and monolayer

- Gently lift the silicone inserts from the plate using the provided tool (do not remove entirely)

- Spin the plate again for 1 minute

- Remove the silicone inserts entirely.

- Gently add 130uL of XF media (to avoid detaching adhered cells)

- Incubate at 37C in a non-CO2 incubator for 1hr

- Replace the water in the sensor cartridge with XF calibrant (200ul/well),

  - Incubate at 37C in a non-CO2 incubator for 30 minutes

- Resuspend Mitochondrial Stress test reagents in desired assay media.

- After cartridge is incubated for 30 minutes – add reagents to injection ports

- Run sensor cartridge with calibration plate

- Add plated cells to the HS Mini + run Mitochondrial Stress Test

Reagents to Make

Seahorse XF Media

RPMI (9.7 mL) + 1mM pyruvate (100 µL) + 2mM L-glutamine (100 µL) + 10mM glucose (100 µL)

pH – 7.4 – incubate the final XF Assay Medium at 37 °C until ready for use

Component Concentrations

*** See page 14 of the Mito Stress Test user guide***

Resuspend using Seahorse XF Media

Port A - 1.5 µM Oligomycin

Port B - 1.0 µM FCCP

Port C - 1.0 µM FCCP

Port D - 0.5 µM Rotenone + Antimycin