Ex vivo anti-CD3/28 Dynabead stim of human PBMC to measure proliferation and apoptosis

Donor Vial info:

PBMC cell count:

If using fresh PBMC:

PBMC isolation from whole blood in CPT tube

- Invert CPT tube 2-4 times

- Centrifuge CPTs at 1800 G for 30 minutes at room temperature, 9-1 acceleration/deceleration (handle with care and keep tubes upright after centrifuging).

- Remove plasma layer being careful not to disrupt cell layer (cloudy layer between CPT gel and plasma).

- Pour remaining plasma and cells from CPT tubes into a 50 mL Falcon tube

NOTE:  No more than 6 CPTs per 50mL Falcon tube, if you have more than 6 divide them evenly into 2 or more Falcon tubes (they can be combined at the lyse step).

- Rinse CPTs 2-3x using ≈ 7mL of RPMI by pipetting up and down.

- Dispense each wash from the CPTs into the 50 mL Falcon tube along with the cells in step 4

- Bring Falcon tube volume up to 50 mL using RPMI

- Centrifuge at 1500RPM for 5 minutes at RT, aspirate the supernatant, mechanically disrupt pellet by raking

- Resuspend cells in 10 ml High Yield Lyse (Thermofisher) and incubate at RT for 10 mins.

- Bring volume up to 50 mL using RPMI, mixing gently.

- Centrifuge at 1500RPM for 5 minutes at RT, aspirate the supernatant, mechanically disrupt pellet by raking, resuspend in 2 mL to count cells. Cell count: average dilution 1:5 in 4% trypan blue (80ul trypan plus 20uL cells)

If using frozen PBMC:

Thawing cryopreserved PBMC for immunophenotyping

Protocol modified from here: https://www.ncbi.nlm.nih.gov/pmc/articles/PMC6060642/

- Place a cryopreserved PBMC vial in a 37°C water bath. Submerge the cryovial halfway and thaw for 60 seconds.

- PBMCs were frozen at 6-7 million cells in 1ml of freezing medium for 1 min.

- Add 1 mL of warmed (37°C) complete RPMI slowly dropwise to the thawed PBMCs against the side of the cryovial using a transfer pipette.

- Pipette the thawed PBMCs into 5 mL (per vial so 10 ml if thawing two vials) of complete RPMI in a 15ml conical tube that has been warmed to 37°C (no pipetting). Make sure to wipe down the tube

- Rinse the cryovials once with 1 mL of warm complete RPMI, pipette the PBMCs into the conical tube with the cell mixture.

- Incubate the PBMCs for 5 minutes in the 37°C water bath.

- Take aliquot to count cells.

Cell Count Pre-Rest:

- Centrifuge the PBMCs for 10 minutes at 300xg at room temperature.

- Pour off the supernatant. This will leave a small amount of complete RPMI behind that aids in pellet resuspension.

- Add 1 mL of pre-warmed complete RPMI. Mix by flicking or racking the tube (avoid pipetting up and down).

- Incubate the PBMCs for one hour at 37°C in a CO2 water jacketed incubator (37°C, 5% CO2, 95% humidity). Leave the cap of the conical tube slightly loose so that gas transfer can occur.

- Centrifuge the PBMCs for 10 minutes at 300xg at room temperature.

- Resuspend in complete RPMI to 10e6/ml.

- Take aliquot to count cells

Cell Count Post-Rest: 9.9e5/ml. 97% viability. 2.47e6 cells total.

Anti-CD3/28 Dynabead stimulation

- Prepare CD3/CD28 beads (Invitrogen Dynabeads Human T-Activator CD3/CD28)

- Vortex 30 seconds

- Add beads to 1.5 mL conical (15 ul per 1 ml sample in manufacturer protocol)

- Add 1 mL FACS

- Vortex 30 seconds

- Place on magnet 1-2 minute

- Remove supernatant

- Add equal parts R10 to the bead volume used in step 4 (resulting concentration beads to R10 ratio is 1:1)

- Add media to well of 48 well plate, correct up to 1 ml  (1 ml – 100 ul cells – 15 ul beads = 885 ul of media

- Plate 1-1.2 million cells in 100 ul into R10 in 48 well plate *Easier on cells to add media first then cells then beads*

- Add washed beads to cells in media in 48 well plate. 15ul of anti-CD3/28 beads per well of 1 ml media.

- Add protein, antibody of interest or PBS as a control to respective wells.

- Incubate 1-3 days

After Stimulation cell processing and surface staining

- Pipette up and down thoroughly to resuspend cells and transfer to flow tubes and place on magnet 1-2 min to remove Dynabeads

- Aspirate supernatant (including cells; leaving beads behind) and transfer to clean flow tubes

- Wash flow tubes still containing beads by washing well in 48 well plate with 500 ul of FACS, then transfer FACS used to wash well into the respective tube on the magnet

- Take tube off magnet, vortex, and put the tube back on the magnet and let sit on magnet for 1-2 min

- Repeat steps 3-4 once more

- Aspirate the supernatant while tube is still on the magnet as in step 2 and add supernatant to appropriate flow tubes already containing cells debeaded in step 2.

- Discard tubes containing CD3/CD28 beads

- Spin flow tubes with cells at 1500 RPM for 5 min

- Dump supernatant, wash in 1 ml of FACS, and dump supernatant

- Add master mix. Ab at 1:100

- Stain all samples in surface antibody cocktail at room temp for 20 minutes, covered in foil. Make comps and FMOs during this time.

- Add 1 ml of FACS, spin, dump supernatant. Repeat.

Live/Dead staining

- Stain each sample with 1 ml live dead (1 ul L/D Aqua per 1 ml PBS)

  - LIVE/DEAD™ Fixable Aqua Dead Cell Stain Kit, for 405 nm excitation Thermofisher, L34965 *Live/dead stain is on same channel as CD14, CD19 to serve as a dump channel on BV510*

- Incubate at room temp for 10 mins, covered in foil.

- Wash 1x with FACS

Ki67 staining

- Make fixation buffer (1:3 fix to diluent)

- Add 250uL/sample. Fix perm= 5mL fix, 15mL diluent

- Incubate for 20min at 4C in dark.

- At end of fixation incubation, wash 1x with 1X perm buffer (1:10 dilution with diH20)

- Stain with nuclear fluorochromes for 25-30 min at 4C in dark in perm buffer.

- Wash 1X with perm buffer. Wash 1X with FACS.

- Resuspend samples in 100uL FACS, transfer to microtubes, and flow.

Caspase staining

- Caspase staining cannot be performed on fixed cells. If performing intracellular staining, do not perform caspase staining.

- Thaw caspase 3/7 reagent (CellEvent™ Caspase-3/7 Green Flow Cytometry Assay Kit Thermofisher, C10427)

- While thawing, move caspase samples to flow tubes/microtubes and wash again. Aspirate or dump, as long as 100 ul is left in tube.

- Heat block the samples that you want to have more cell death (eg- positive control, comp controls). Let samples sit on heat block at 65C for 5 min. An FMO for caspase 3/7 and an FMO for 7AAD is especially important here. Heat block both of them here.

- Make caspase stock solution—add 1 ul of caspase reagent to 1 ml of FACS (1:1000 dilution), add 100ul of solution to each tube of 100ul FACS already there (1:2000 final dilution) and incubate at 37C for 30 min. *Manufacturer says 1:1000 but this is very bright, 1:2000 is better.

- Make 7AAD stock solution (after diluting in DMSO)

- After making the stock solution, add 2.5 ul of 7AAD to 500 ul of FACS (1:200 dilution). Add 50ul of this solution to each sample tube that already has 200ul FACS in it from caspase staining (1:1000 final dilution). *Requires flow samples to be run immediately after caspase 3/7/7AAD stain as there is not quech step afterwards. Have compensation and experiment ready to run samples. You can batch the time you add caspase and 7AAD by tissue type so some samples are not incubating while you’re running the other tissues. This step is especially time sensitive, plan accordingly or you will have overstaining with the reagents.

Notes