# Preparation for blood - genotyping

- Bleed animal into 50 l EDTA in a microfuge tube

- If the blood is fresh, spin at max for 30 seconds.  If you are not going to use it that day, put it at 4C for one day.

- If the blood is a day old, there should already be a pellet, so you don’t need to spin it down.

- Aspirate and discard supernatant

- Add 0.5 ml Ack and vortex

- Incubate at room temp for 5 minutes

- Spin at max for 30 seconds

- Aspirate and discard supernatant

- Wash with ~1 ml FACS buffer and vortex

- Spin at max for 30 seconds

- Aspirate and discard supernatant

If you are not FC blocking go to step 15.

If you are not FC blocking and are not biotin labeling, go to step 20.

- Make master mix of 50 l FACS buffer/sample plus 0.25 l FC block/sample		(e.g., if you have 8 samples, mix 400 l FACS buffer + 2 l FC block)

- Add 50 l of your master mix to each sample to resuspend the pellet and vortex

- Incubate on ice for at least 5 minutes

If you are NOT biotin labeling your samples, proceed to step 20.

- Add 0.5 l of your biotin antibody per sample

- Incubate on ice for 15 minutes

- Wash with ~1.5 ml FACS buffer and vortex

- Spin at max for 30 seconds

- Aspirate and discard supernatant

- Make master mix of 50 l FACS buffer/sample

- Add 50 l of your master mix to each sample to resuspend the pellet and vortex

- Incubate on ice for 10 minutes in the dark

- Wash in ~1.5 ml FACS buffer and vortex

- Spin at max for 30 seconds

- Aspirate and discard supernatant

- Add 50 l FACS fix buffer and vortex

- Put sample on ice or at 4C until you run flow cytometry