RNA extraction with Trizol (adapted from Kyla Omilusik)

- Thaw Trizol sample at RT.

- Add 2ul glycoblue

- Add chloroform

  - For 500ul Trizol, use 100ul chloroform

  - For 1000ul Trizol, use 200ul chloroform

- Shake vigorously for approx 15s

- Incubate 2-3 min at RT

- Centrifuge 15 min at 12000g, 4C

- Carefully transfer aqueous phase to a fresh tube (work on ice from this point)

  - Pipet in circular motion, avoid interphase by leaving generous amount of aqueous phase

  - For 500ul Trizol, transfer ~250ul

  - For 1ml Trizol, transfer ~500ul

- Add isopropanol (flick, do not pipette)

  - For 500ul Trizol, add 250ul isopropanol

  - For 1ml Trizol, add 500ul isopropanol

- Centrifuge 20 min at 12,000g, 4C

  - Then remove supernatant with pipette tip

- Wash with 1ml cold 75% EtOH (make fresh using DNAse/RNAse-free water)

  - Flick to loose pellet

- Centrifuge 15 min at 7,400g, 4C

  - Pipette of as much EtOH as possible. Use 10ul micropipettor for small volume

  - Dry 10-15 min

- Resuspend RNA pellet in 10ul nuclease-free water

- Incubate 10-15 min at 55-60C.

Optional: DNAse I digestion (from Turbo DNA-free procedure)

- Add 1ul 10X Turbo Dnase buffer and 1ul Turbo Dnase to sample. Mix gently.

- Incubate 20-30 min at 37C

- Add 2ul of resuspended DNA Inactivation Reagent and mix well.

- Incubate 5 min, RT. Mix occasionally.

- Centrifuge 1.5 min at 10,000g

- Transfer the supernatant to a fresh tube. Avoid pellet.

qPCR

2X Sybr			10ul

primers (0.6uM)		5ul

water				2.3ul

ROX ref dye (optional)	0.3ul

cDNA* (1:10 diluted)		2ul	(*from 50k cells)

-------

Total:				20ul