Tissue processing for viral titers

Kennidy Takehara

Last updated 11/22/23

Reagents:

Homogenization beads: BioSpec #11079125Z

Tubes for homogenization: Genesee scientific: #21-354

Primer LCMV GP Rev: GCAACTGCTGTGTTCCCGAAA

Primer LCMV GP Fwd: CATTCACCTGGACTTTGTCAGACTC

Collecting tissues:

- Collect <30mg of tissues (can use 30ul as reference) into shatterproof homogenizer tubes and immediately place on dry ice. Store in -80 until ready to use

  - Can also take remaining organ into eppies to keep in -80 as backup, suggest cutting small pieces before freezing.

Processing tissues:

Recommended: label 2 sets of eppie tubes per sample and pre-label RNEasy columns to limit protocol time. Want to work as quickly as possible.

- Keep tissues on dry ice (and then ice) while preparing for homogenization

- Add 600ul RLT buffer (from RNEasy kit) with one scoop of beads to homogenizer tube

  - Recommended for tissue: add 10ul BME for every 1mL RLT

- Take tubes to Zuniga lab and homogenize (need to be trained by Kennidy or Zuniga lab member)

  - For homogenizer: 30 seconds, check for chunks and do another 30 seconds if necessary

- Spin down entire tube full speed 4 degrees for 10 minutes.

- Pipette ~350ul of supernatant into new eppie tube & add one volume 70% ethanol.

- Continue with RNeasy kit – pick up with transfer to RNeasy spin column: https://www.qiagen.com/us/resources/download.aspx?id=0e32fbb1-c307-4603-ac81-a5e98490ed23&lang=en

- I usually elute in 30ul of H20

Continue with cDNA synthesis: https://protocols.heeg.io/protocols/mol_bio/cDNA.html

All reagents can be found in pink qPCR box or SSIV box

Briefly:

- Remove DNA contamination (scale up for 30ul)

  - Add 2.5ul of 10X TURBO DNase Buffer and 1.25µl TURBO DNase to 25 µl of RNA, and mix gently

    - May need to adjust these numbers based on how much volume you get from elution

  - Incubate at 37°C for 20-30 min

  - Add resuspended Inactivation Reagent (5µl to 28.75 µl mix), and mix well

  - Incubate 5 min at RT, mixing occasionally

  - Centrifuge at 10000 x g for 1.5 min and transfer the RNA to a fresh tube

  - Recommended: nanodrop to get concentration and purity

- Anneal primer to template RNA

- Heat the RNA-primer mix at 65°C for 5 minutes, and then incubate on ice for at least 1 minute

| Component | Volume |
| --- | --- |
| 50 μM Oligo d(T)20 primer, 50 μM random hexamers, or 2 μM gene-specific reverse primer | 1 μL |
| 10 mM dNTP mix (10 mM each) | 1 μL |
| Template RNA (10 pg–5 μg total RNA or 10 pg–500 ng mRNA) | up to 11 μL |
| DEPC-treated or nuclease-free water | to 13 μL |

- Use 50uM random hexamers to amplify all RNA, use oligo d(T) primers if want entire RNA fragment (ie for cloning gene)

### Prepare RT reaction mix

- Vortex and briefly centrifuge the 5× SSIV Buffer.

- Combine the following components in a reaction tube.

| Component | Volume |
| --- | --- |
| 5× SSIV Buffer | 4 μL |
| 100 mM DTT | 1 μL |
| RNaseOUT™ Recombinant RNase Inhibitor | 1 μL |
| SuperScript® IV Reverse Transcriptase (200 U/μL) | 1 μL |

- Add 7µl RT reaction mix to the annealed RNA (13 µl)

### Incubate reactions

- If using random hexamer, incubate the combined reaction mixture at 23°C for 10 minutes, and then proceed to next step.
If using oligo d(T)20 or gene-specific primer, directly proceed to next step.

- Incubate the combined reaction mixture at 50–55°C for 10 minutes.

- Inactivate the reaction by incubating it at 80°C for 10 minutes

Remove RNA

- To remove RNA, add 1 μL E. coli RNase H, and incubate 37°C for 20 minutes.

For qPCR:

HPRT SYBR and LCMV GP primers, stock 100μM

- Dilute primers: 2.5μl F, 2.5μl R, 195 μl water

I usually dilute cDNA with 20ul of water, for 40ul total of cDNA (enough to repeat if needed)

qPCR rxn:

- Primers: 1μl

- SYBR 2x: 5μl

- cDNA: 4μl

Tips for qPCR:

- Group primers together, so at least 2 replicates per sample

- Make sure to mix with pipette all reagents

- Use same batch of SYBR – make sure have enough before starting

- I like to pipette all of my cDNA on one side of well (make sure some in every well) and then flip around and pipette master mix on other side

- Make sure to be VERY accurate with pipetting (I like to reverse pipette)

- Include cDNA positive control (so know qPCR works with housekeeping) and water control