MitoTracker Green FM probe (FITC)

What for: stains total mitochondria, it measures mitochondrial mass / cell content

MW 671.88

Stock Solution 1 mM

DMSO volume 74.42 µL

Working Solution 25 nM

D.F. 1:40,000 (dilute 1:40 in warm PBS and then 1:1,000 into final sample tube)

Use working concentrations of 25–500 nM

MitoTracker Deep Red FM probe (APC)

What for: labels ‘healthy’ mitochondria with robust proton gradient, it measures respiration

MW 543.58

Stock Solution 1 mM

DMSO volume 91.98 µL

Working Solution 25 nM

D.F. 1:40,000 (dilute 1:40 in warm PBS and then 1:1,000 into final sample tube)

Use working concentrations of 25–500 nM

MitoSOX Red (BV605 or PE)

What for: measures superoxide accumulation

Make a 5 mM stock solution of MitoSOX reagent by dissolving the contents of the vial in 13 µL of anhydrous DMSO

Working Solution 5 µM

D.F. 1:1,000 (into final sample tube)

Optimize the staining solution concentration between 100 nM to 5 µM to maximize signal-to-noise ratio and minimize cellular toxicity.

Additional Notes

Include unstained controls & FMOs

Work on congenically mixed cells to avoid technical biases

Steps

Goal is to have 1-5 million cells/tube

Centrifugation steps carried out at 400g for 3 minutes

- Equilibrate one vial of dye at room temp, then resuspend it

- Count the cells from each condition and place them into individual FACS tubes

- Wash cells in warm PBS and resuspend them in 1 mL of warm PBS

- Add 1 µL of dye to each FACS tube with the cell suspension (dilution 1:1,000)

- Stain for 20 minutes in the incubator at 37 ºC

- Quickly wash cells in warm PBS

- Stain for 10 minutes at RT dark in PBS

  - Congenic staining + reporter genes

- Wash cells in warm PBS

- Acquire samples

MitoSOX Red (PE-Texas Red)

Materials

- MitoSOX Red (#M36008): 5 mM stock (dissolve 50 μg vial in 13 μL anhydrous DMSO; aliquot and store at -20°C protected from light; stable for months).

- HBSS with Ca/Mg (pre-warmed)

- FACS buffer: PBS + 2% FBS (ice-cold).

- Centrifuge at 4°C

Step-by-Step Protocol

Resuspend cells in ice-cold FACS buffer at 1–2 × 106 cells/mL.

Aliquot 100–500 μL (0.5–2 × 106 cells) per tube for samples/controls.

Prepare fresh 5 μM working solution: Dilute 5 mM stock 1:1000 (5 µM) in pre-warmed (37°C) HBSS (with Ca/Mg; no serum).

Centrifuge cells; aspirate supernatant.

Resuspend pellet in 500 μL of 5 μM MitoSOX solution per tube.

Vortex gently to mix.

Incubate 20 min at 37°C in dark (water bath or incubator; gentle agitation optional).

Stop reaction: resuspend cells in 3 mL ice-cold FACS buffer; centrifuge (300–400 × g, 5 min, 4°C).

Aspirate supernatant from MitoSOX-washed cells.

Resuspend in 50 μL Fc block solution; incubate 5–10 min on ice.

Without washing, add live/dead + surface antibody cocktail (in FACS buffer; total final volume 100 μL per tube, i.e., 50 μL Fc + 50 µL antibody mix).

Vortex gently.

Incubate 20 min on ice (or 4°C), dark (longer for dim markers like PD-1).

Add 2 mL ice-cold FACS buffer; centrifuge (300–400 × g, 5 min, 4°C).

Resuspend in 200 μL ice-cold FACS buffer.

Filter through 40 μm strainer into FACS tubes to remove clumps.

Keep on ice/dark until acquisition (analyze within 1–2 hours; MitoSOX signal can drift).

MitoTRACKER Deep Red (APC)

Materials

- MitoTracker Deep Red FM (M22426): for 1 mM solution, dilute 1 x 50 µg vial with 92 µL of anhydrous DMSO, final dilution (for T cells) is 1:100,000 (10nM)

- HBSS with Ca/Mg (pre-warmed)

- FACS buffer: PBS + 2% FBS (ice-cold).

- Centrifuge at 4°C

Step-by-Step Protocol

Resuspend cells in ice-cold FACS buffer at 1–2 × 106 cells/mL.

Aliquot 100–500 μL (0.5–2 × 106 cells) per tube for samples/controls.

Prepare fresh 10 nM working solution: Dilute 1 mM stock 1:100,000 (10 nM) in pre-warmed (37°C) HBSS (with Ca/Mg; no serum).

Centrifuge cells; aspirate supernatant.

Resuspend pellet in 500 μL of 10 nM MitoTracker solution per tube.

Vortex gently to mix.

Incubate 20 min at 37°C in dark (water bath or incubator; gentle agitation optional).

Stop reaction: resuspend cells in 3 mL ice-cold FACS buffer; centrifuge (300–400 × g, 5 min, 4°C).

Aspirate supernatant from MitoTracker-washed cells.

Resuspend in 50 μL Fc block solution; incubate 5–10 min on ice.

Without washing, add live/dead + surface antibody cocktail (in FACS buffer; total final volume 100 μL per tube, i.e., 50 μL Fc + 50 µL antibody mix).

Vortex gently.

Incubate 20 min on ice (or 4°C), dark (longer for dim markers like PD-1).

Add 2 mL ice-cold FACS buffer; centrifuge (300–400 × g, 5 min, 4°C).

Resuspend in 200 μL ice-cold FACS buffer.

Filter through 40 μm strainer into FACS tubes to remove clumps.

Keep on ice/dark until acquisition (analyze within 1–2 hours; MitoTracker signal can drift).

MitoSTATUS Red (APC)

Materials

- MitoStatus Red (BD Biosciences): 0.2 mM solution in DMSO, final dilution is 1:20,000 (10 nM). Add 460 μL of anhydrous DMSO directly to the 50 μg vial.

- HBSS with Ca/Mg (pre-warmed)

- FACS buffer: PBS + 2% FBS (ice-cold).

- Centrifuge at 4°C

Step-by-Step Protocol

Resuspend cells in ice-cold FACS buffer at 1–2 × 106 cells/mL.

Aliquot 100–500 μL (0.5–2 × 106 cells) per tube for samples/controls.

Prepare fresh 10 nM working solution: Dilute 0.2 mM stock 1:20,000 (10 nM) in pre-warmed (37°C) HBSS (with Ca/Mg; no serum).

Centrifuge cells; aspirate supernatant.

Resuspend pellet in 500 μL of 10 nM MitoStatus solution per tube.

Vortex gently to mix.

Incubate 20 min at 37°C in dark (water bath or incubator; gentle agitation optional).

Stop reaction: resuspend cells in 3 mL ice-cold FACS buffer; centrifuge (300–400 × g, 5 min, 4°C).

Aspirate supernatant from MitoStatus-washed cells.

Resuspend in 50 μL Fc block solution; incubate 5–10 min on ice.

Without washing, add live/dead + surface antibody cocktail (in FACS buffer; total final volume 100 μL per tube, i.e., 50 μL Fc + 50 µL antibody mix).

Vortex gently.

Incubate 20 min on ice (or 4°C), dark (longer for dim markers like PD-1).

Add 2 mL ice-cold FACS buffer; centrifuge (300–400 × g, 5 min, 4°C).

Resuspend in 200 μL ice-cold FACS buffer.

Filter through 40 μm strainer into FACS tubes to remove clumps.

Keep on ice/dark until acquisition (analyze within 1–2 hours; MitoStatus signal can drift).