Percoll separation to remove tumor cells from lung tumor samples. (CB22)

Materials:

- Percoll 100% stock

- HBSS-/-1x

- R10 (RPMI 1640 + 10% FBS + 1% Pen/Strep + 1% Ultra-glutamine)

- 15 ml Falcons

- 50 ml Falcons

PERCOLL preparation

- Use PERCOLL 100% (iso) for all subsequent dilutions: 18 ml PERCOLL stock + 2 ml PBS-/- 10x

- PERCOLL 40% (per sample): 4 ml PERCOLL 100% (iso) + 6 ml R10

- PERCOLL 70% (per sample): 3.5 ml PERCOLL 100% (iso) + 1.5 ml HBSS-/-1x

Protocol

- Collect cells by centrifugation (10 min, 400g)

- Resuspend cell pellet in 8 ml PERCOLL 40% and transfer to a new 15 ml Falcon tube

- Stratify 4 ml PERCOLL 70% under the 8 ml PERCOLL 40% layer. NB: put firstly the 8 mL PERCOLL 40% then with 5mL pipette go to the bottom of the falcon and slowly stratify PERCOLL 70%.

- Centrifuge at 790g for 30 minutes without brake (0)

- Remove supernatant (leave 7 ml)

- Collect the interface between the 30% and 70% PERCOLL (with a 5 ml pipette). Leave 1 ml of supernatant in the tube.

- Transfer to a 50 ml Falcon tube and fill up the tube with HBSS-/- 1x.

- Centrifuge at 400g for 10 minutes

- Remove supernatant completely and resuspend the cells in the desired medium.