PBMC isolation from whole blood and leukapheresis

Materials

- Sterile physiological saline solution (NaCl 0,9%. Baxter9)

- Ficoll solution (RT, use avoiding light exposure)

- Falcons (50mL)

- Trypan blue 0,04%

- Labelled cryovials

- Cryobox (RT)

- Freezing medium (FBS 10% DMSO 4°C)

Protocol

- Divide blood in 3 Falcons (50mL) and make up to a final volume of 30 mL with physiological solution, resuspend properly. If you are working with leukapheresis (1-2ml) top up to 30ml with saline solution;

- Stratify on the layer of 17 mL of Ficoll solution

- Centrifuge: 400 G, 30’, max acceleration (9), min brake (1), RT

- Collect PBMC’s ring and make up to a volume of 50 mL of physiological solution

- Centrifuge: 520 G, 10’, max acceleration (9), max brake (9), RT

- Remove supernatant, resuspend pellet with the appropriate amount of physiological solution

- Cell count: average dilution 1:5 in trypan blue 0,04% (80uL trypan plus 20uL cells)

- Make up to a final volume of 40 mL of physiological solution

- Centrifuge: 520 G, 15’, max acceleration (9), max brake (9), RT

- Remove supernatant, resuspend in appropriate amount of freezing medium (FBS 10% DMSO, 1mL/vial)

- Keep vials 24/48h at -80°C, then move to liquid Nitrogen container