# Extraction of DNA from mouse tails

- Place small piece of tail or ear in 400 l of tail juice and incubate overnight at       55 C.  Vortex and proceed to step 3.

2.   If frozen, thaw sample in incubator.

- Add 400ul Phenol Chloroform (from the bottom layer of the bottle), vortex.

- Spin samples in centrifuge for 2 min. at 32,000 rpm (room temperature).

5.    Make a new set of eppies with 750ul of 100% Ethanol

- Remove tubes from centrifuge and pipette top layer (aqueous-phase DNA) into the tubes with ethanol, avoiding any phenol layer or interface (sludge).

- Mix tubes with DNA + ethanol until white clumps of DNA are visible.

- Spin samples for 2 min at 32,000 rpm

- Aspirate off ethanol, being careful to get as much as possible, air dry for 5 min

- Add 200ul 1X TE

- Incubate at 37C for 30 min