- Cut blocks of tissue to obtain spleen, lymph node, and tumor sections. Cryostat should be set to -20 degrees C, sections at 7um thickness

  - If getting tissue fracturing, adjust temperature [try warmer] and thickness of section

  - Can also try very briefly warming surface of OCT block by rubbing it with your thumb to decrease tissue fracturing

- Fix slides in -20° acetone for 20 minutes at -20° (put back into freezer). Blot excess acetone off edges by pressing into a paper towel, and let air dry for 10 minutes (or until visibly dry). At this point you can store slides at -80° indefinitely (make sure slides stay dry).

- To stain, let slides come up to room temperature, then draw a circle around tissue with a hydrophobic pen. Allow at least 10 minutes for hydrophobic line to dry.

- Rehydrate tissue with staining buffer by adding ~200uL buffer to each tissue circle. Let sit at RT for 30 minutes. Make the staining buffer as follows:

Staining Buffer

100ml 1x PBS

1ml (1%) normal rat serum (as needed by antibody isotype)

1ml (1%) normal mouse serum (as needed by antibody isotype)

1g (1%) BSA

100ul (0.1%) Tween-20

- Use aspirator to remove staining buffer, then blot with a kim wipe to get slide as dry as possible, making sure to not touch the tissue.

- Aliquot primary antibodies (diluted in ~100ul staining buffer), and incubate in humidity chamber (foil-covered baking tray lined with damp paper towels) for 30 minutes at RT.

- Wash slides first with a stream of PBS (using a transfer pipette) to get rid of excess antibody, then place slides in staining buffer and set on rotator to wash for 10 minutes. Gently blot next to sample area to remove excess liquid. If there is still excess liquid, it can be removed via aspiration. Renew the hydrophobic line if necessary (if staining with different secondaries on the same slide). Aliquot secondary antibodies (diluted in ~100ul staining buffer) and stain for 30 minutes at RT.

- Wash slides again as previously, the counterstain with DAPI. DAPI stock is frozen at -20 at 5mg/ml stock concentration. To make a long-term working solution, dilute 50ul stock 1:50 in PBS (this solution can be stored in fridge for up to 6 months).  Stain tissue with working solution for ~1minute.

- Mount samples using prolong diamond anti-fade mounting media (add 3 evenly-spaced drops of mounting media to the coverslip, then place the coverslip on the slide). Let the mounting media cure for 24 hours (or at least overnight) at room temperature, protected from light.

- Slides should be viewed with fluorescent microscope ASAP. For long term storage of stained slides, place them wrapped in foil at -80°.