Precipitation of RNA/DNA:

- Add 1 L/100 mL of glycogen (at 2.5 mg/mL) or 1 mL/100 mL of tRNA when precipitating <10 g/mL of product.

- Add 0.1 volume NaOAc 3M pH 5.3 or NH4OAc 10M, vortex.

- Add 2.5-3.5 volume 100% EtOH.

- Freeze thaw 3x at –80ºC.

- Spin 20 minutes maximum speed in 4ºC tabletop.

- Remove supernant and add 750 L of  cold 70% EtOH.

- Aspirate supernant carefully avoiding pellet.

- Dry briefly.