RNA Isolation:

Before Beginning:

- Remember to wipe down the bench with a wet paper towel to remove some of the dust

- Make sure filter tips are being used

- Pour eppi tubes that will be used onto a paper towel.

- Get a new aliquot of chloroform.

Homogenization and isolation:

  - Spin down sample and aspirate off any remaining buffer.

  - Flick tube to loosen pellet.

  - Homogenize samples in 0.5 mL of TRIzol Reagent (1 mL per 50-100mg  of sample).  Mix well until there is no longer any clumps.

  - Incubate the homogenized samples for 5 min. at room temperature.

  - Add 1uL of glycoBlue as a carrier.

  - Add 100 uL of chloroform for  every 0.5 mL of TRIzol and shake vigorously by hand for 15 seconds.

  - Incubate them at room temp. for 2-3 minutes

  - Centrifuge the samples at 11,000 rpm (12,000 x g) for 15 minutes at 2 to 8 C.

  - Transfer the aqueous layer (the clear one on top) into a new tube.  Be careful not to disturb the lower phenol-chloroform layer (red) or the interphase (white).

RNA Precipitation:

- Precipitate RNA by adding 250 uL of isopropyl alcohol and mixing well.

- Incubate samples at room temp. for 10 minutes.

- Centrifuge samples at 11,000 rpm (12,000 x g) for 10 minutes at 2 to 8 C

- There should be a blue pellet visible on the bottom of the tube.

RNA Wash and Resuspension:

- Aspirate off supernatent.

- Wash pellet by adding 1 mL of cold 70% ethanol.

- Mix sample by vortexing and centrifuge at 9,000 rpm for 5 minutes at 2-8 C.

- Aspirate all but about 100 uL of the ethanol, and then spin again as above for 2 minutes.

- Use a pipet to remove the rest of the EtOH.

- Turn tube on its side and allow to dry on a kimwipe.

- Resuspend the pellet in 10 uL of water and put onto ice or in the freezer.